# Risk Assessment for Potential Emergencies– FIRE

| Nature of emergency/ hazard | Fire |
| --- | --- |
| Risk associated with hazard | - Evacuation plans not clearly communicated or not regularly tested - Staff are not aware or are unclear on evacuation procedures and warden responsibilities in case of fire - Trees around buildings drop leaves and branches, blocking gutters and cluttering grounds |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Fire safety equipment must be accessible and installed and serviced in accordance with Ordinance 70/Building Code of Australia. Educators must be familiar with their operation and will undergo appropriate training every two years. - Installation of Smoke Detectors is required. Smoke detectors are to be regularly maintained and operational. - Service will provide appropriate numbers of Educators (Fire Wardens) from with training in the use of fire/safety equipment. Fire Wardens are responsible for providing information/training on the use of fire safety equipment to all other educators at the service. - Fire exits and equipment must be clearly always marked and free from obstructions. - Emergency evacuations/fire drills are to be rehearsed at least once every 3 months with all educators and with each child enrolled who attends the Centre at least one day per month. - Liaise with emergency services - We are considered a area not prone to fires as per known history |
| Key response measures | • Blow the whistle and follow the Evacuation Procedures • Evacuate all children, staff, visitors, and parents from the centre. • Close doors close to the fire • Attempt to extinguish the fire (only if you are trained and it is safe to do so) • Follow the instructions from fire brigades • Notify the Nominated Supervisor and parents/families |
| Recovery measures | • Secure the site. Do not enter the damaged site. Fires can rekindle from hidden; smouldering remains. Beware structural damage caused by fire. Damaged roofs and floors may be subject to collapse. • Re-open the centre in communication with fire brigades • Arrange counselling for those affected • Review the emergency plan |

# Risk Assessment for Potential Emergencies– Bomb threats, suspected devices

| Nature of emergency/ hazard | Bomb threats, suspected devices |
| --- | --- |
| Risk associated with hazard | - History of bomb threats at the centre - Person seeking to cause disruption to the centre - Examinations or other significant events in the centre |
| Risk rating refer to risk assessment matrix | Low |
| Key prevention measures include | - Staff will follow safety check procedures prior to opening the centre. - Staff are encouraged to read emergency evacuation and lockdown procedures. - Staff take notes of any suspicious activity and communicate with the person in charge. |
| Key response measures | - Record as much information as possible for bomb threat - Do not touch, tilt or tamper with a known or suspected explosive or incendiary device - Call emergency services - If a device is located, or the information gathered by the Police indicates that it is warranted, the Police will determine that buildings should be evacuated. - Follow Lockdown/evacuation procedures if required. |
| Recovery measures | - Reoccupation of the workplace should only occur following discussion with the senior police officer at the scene. - The workplace manager should then: provide staff, parents, and visitors with accurate information about the current situation unless there is a legal issue that prevents this occurring - Assess the need for, and arrange, counselling support - Review the emergency plan |

# Risk Assessment for Potential Emergencies – Earthquake/ collapse of building/ collapse of Trees

| Nature of emergency/ hazard | Earthquake/ collapse of building/ Collapse of trees |
| --- | --- |
| Risk associated with hazard | - Most casualties result from falling objects and debris because the shocks can shake damage or demolish buildings and other structures. - Over a period, structures are weakened and may fail |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Know your area’s earthquake history - Identify the age of buildings. - Identify any long-term structural weakness occurring and notify relevant authority. |
| Key response measures | - Follow emergency evacuation/lockdown procedures. |
| Recovery measures | - Provide counselling for those affected by the incident - Seek support immediately from emergency services - Do not re-enter the centre until advised by the emergency services. - Review the emergency plan. |

# Risk Assessment for Potential Emergencies– STORMS

| Nature of emergency/ hazard | Storms |
| --- | --- |
| Risk associated with hazard | - Danger from high winds where tall buildings located on or around the workplace are not regularly checked - Electrocution from fallen wires - Windows, shed roof in need of repair - Excursion activities undertaken without risk assessment |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Ensure gutters and downpipes are cleaned regularly - Ensure shed roofs and windows are in good repair - Prepare an emergency kit - Assess risk before any excursions |
| Key response measures | - Listen to your local radio station for further information and advice - Direct staff to stay indoors and stay well clear of windows - Follow lock down/emergency procedures if required - Avoid using fixed line telephones - If driving, put on your hazard lights and pull over to the side of the road, clear of streams, trees, and powerlines - If caught outdoors, seek shelter in a building or vehicle, but not under a tree |
| Recovery measures | - Arrange counselling support for anyone seriously affected by the incident - Review the emergency plan |

# Risk Assessment for Potential Emergencies– FLOOD

| Nature of emergency/ hazard | Floods |
| --- | --- |
| Risk associated with hazard | - Floods are a natural occurrence on low lying land close to rivers and creeks. While the pattern of flooding varies, there are few communities that do not have some flood risk. - The State Emergency Service (SES) is responsible for responding to floods in NSW. |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Prepare a flood plan covering actions needing to be undertaken always, when a flood is likely, during a flood and after a flood - Prepare an Emergency Kit consisting of a torch with spare batteries, a first aid kit and manual, waterproof bags, emergency contact numbers, waterproof footwear with non-slip soles waterproof and puncture resistant gloves, cleaning products and boxes - Inform staff, parents and visitors of the flood risk |
| Key response measures | - Notify staff, visitors, and families of the flood warning - Outside of business hours – close the centre and notify parents and staff of the temporary closure - Coordinate evacuation via a safe evacuation route before property is flooded - Avoid driving or walking through floodwaters (these are the main causes of death during flooding and notify families of this. |
| Recovery measures | - Decide when to reopen the workplace in consultation with emergency services - Arrange counselling support for anyone seriously affected by flooding - Review the emergency plan |

# Risk Assessment for Potential Emergencies – ELECTRICAL HAZARD

| Nature of emergency/ hazard | Electrical Hazard |
| --- | --- |
| Risk associated with hazard | - Electrocution from faulty electrical wiring or equipment, frayed chords, bad connections, overload of power boards or another electrical fault - Use of high-risk electrical equipment such as handheld equipment (eg power tools, hair dryers, commercial kitchen appliances) |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Ensure testing of electrical equipment - Encourage reporting of all electrical faults - Consider electrical safety as part of OHS risk assessment and risk management programs - Encourage general safety precautions |
| Key response measures | Isolate the area/hazard and provided it is safe, the following can be performed: - if domestic electricity is involved switch off the current; do not cut the cable - if high voltage electricity is involved (such as fallen power cables), wait until the current is disconnected - ensure you - any bystanders are safe - do not touch the person or any conducting material which is also in contact until the current is disconnected - act immediately to arrange first aid and to contact emergency services. - Warn any onlookers of the danger and assist staff to remove any onlookers/children from the situation. - ensure any faulty equipment is tagged to prevent use |
| Recovery measures | - Arrange counselling support for anyone seriously affected workplace activities, which include - Write incident report / Report the authorised authorities - Review the emergency plan |

# Risk Assessment for Potential Emergencies – INFECTIOUS DISEASES

| Nature of emergency/ hazard | Infectious diseases |
| --- | --- |
| Risk associated with hazard | - Lack of awareness of staff - Shared facilities increase risk of infectious diseases - Difficulty of reliably identifying all persons carrying infectious diseases - Food preparation with insufficient controls |
| Risk rating refer to risk assessment matrix | High |
| Key prevention measures include | - Consistently apply standard precautions for infection control incorporating them into daily practice and use specific controls for situations - Ensure all appropriate staff understand and apply Infection Control procedures - Consultation with relevant persons and organisations e.g. local Public Health Units, parents etc. |
| Key response measures | - Encourage staff to report injuries and illnesses - Encourage parents or carers to report infectious conditions to the centre child is absent due to illness - Notify the local Public Health Unit if many children or staff are absent and appear to have similar symptoms, as outbreak may be occurring - Staff should monitor children for signs of infectious disease and act promptly if an infectious disease is suspected - Seek medical help early for people that may be suffering from an infectious disease |
| Recovery measures | - Liaise with the local Public Health Unit about the return of individuals or groups to the centre - Work with local Public Health Unit and Regional Office to return the workplace to normal as soon as possible - Arrange counselling for anyone affected by the emergency - Review the emergency plan |

# Risk Assessment for Potential Emergencies – Entry of Strangers and Serious Violence

| Nature of emergency/ hazard | Entry of Strangers and Serious Violence |
| --- | --- |
| Risk associated with hazard | - The violence occurring at the centre may be greater if you have not considered risk factors and developed prevention strategies, for example if: there is no way of knowing whether people apart from staff, children and parents are authorised to be on the premises. |
| Risk rating refer to risk assessment matrix | Medium |
| Key prevention measures include | - Check security strategies eg access to premises - Crime prevention workshops - Monitoring of incidents - Development, practice and review of lockdown and lockout procedures |
| Key response measures | - Contact emergency services - Contact Nominated Supervisor - Implement lockout or lockdown, if necessary |
| Recovery measures | - Return to Centre when all clear given by emergency services - Provide counselling to anyone requiring - Resume normal centre activities - Review the emergency plan |